## Slide 1: The WASP-IV User Interface
Mladen Zeljko, Ph.D.
Head of Energy Generation and Conversion Department
Energy Institute “Hrvoje Požar”
Tel: +385 1 6326186 Fax: +385 1 6040599
E-mail: mzeljko@eihp.hr
www.eihp.hr

## Slide 2: Model Features
WASP (Wien Automatic System Planning tool) is among the most useful and long lived models for power system expansion planning studies
Originally developed in 1972 in order to meet IAEA’s needs to analyse competitiveness of nuclear power compared to other expansion alternatives
WASP-III (1979) and WASP-III Plus (1992) were DOS-based models, while WASP-IV includes a Windows-based user interface (apart from other enhancements and new model features)

## Slide 3: How to install WASP-IV
The new version of WASP-IV has a user interface which operates in the WINDOWS environment
Windows-98 or a higher version should be available on the machine
In addition, standard MS-Office should also be available
WordPad.exe is required for on-screen viewing of the outputs of WASP-IV

## Slide 4: How to install WASP-IV – continue
Could be installed using either of two installation programs : Single file installer (or
installation program using three diskettes).
The installation program will automatically copy all the necessary files to your hard disk drive C: in the sub directory named “WASP-IV”
copy the “wordpad.exe” file to the subdirectory “C:\WASP-IV\SYSEM” after completing the installation of the WASP-IV package

## Slide 5: Evolution of WASP User Interface
WASP-III Plus
(DOS-based interface)
WASP-IV
(Windows-based interface)

## Slide 6: WASP Start Window

## Slide 7: Study Selection Window
The window for manipulating studies (opening, deleting, creating)
Each study is assigned a separate folder in C:\WASP-IV, named Study_n

## Slide 8: Case Selection Window
Multiple cases can be defined within a single study
Each case is assigned a separate subfolder within the corresponding study folder, named Case_n
Cases can be opened, created (based on previous cases), deleted, backed up (in form of packed archive files) or restored

## Slide 9: Module Selection Window
Modules are entered simply by clicking the appropriate button

## Slide 10: Execution of WASP-IV
WASP–IV consists of several modules.
The first three modules (LOADSY, FIXSYS and VARSYS) can be executed in any order.
Fourth module (CONGEN) only after succesful execution of first three modules.
After CONGEN run, follows MERSIM and than DYNPRO module.
Cycle CONGEN-MERSIM-DYNPRO usually needs a number of iteration for getting op. sol.

## Slide 11: Common Case Data Window
Input of case-level parameters

## Slide 12: Very important
Care should be taken for floating format inputs; a decimal must be given. Otherwise some problems could appear.
Furthermore, after every input through the keyboard, the “Enter” key must be pressed to complete the entry.

## Slide 13: LOADSY Windows

## Slide 14: FIXSYS Windows

## Slide 15: VARSYS Windows

## Slide 16: CONGEN Windows

## Slide 17: MERSIM Windows

## Slide 18: DYNPRO Windows

## Slide 19: REMERSIM Windows

## Slide 20: REPROBAT Windows

## Slide 21: File System of WASP-IV
A number of files for providing input information, storing results/outputs and for passing information from one module to another
The input data files referred wit extension .DAT
The results/output files with extension .REP
Intermediate information/results are stored in the files with extension .BIN and .WRK
Some of the modules produce files with extension .DBG for debugging purposes.

## Slide 22: Module Outputs
Outputs are produced as text files with the extension .rep (REPort), which can be viewed with the WordPad tool directly from WASP-IV (View <Module> Output button)

## Slide 23: Attention
Not to modify, delete or rename any of the files copied by the installation program in the “C:\WASP-IV\SYSTEM” folder.