## Slide 1: REMERSIM Module and Handling of Simulation Files in WASP-IV
Mladen Zeljko, Ph.D.
Head of Energy Generation and Conversion Department
Energy Institute “Hrvoje Požar”
Tel: +385 1 6326186 Fax: +385 1 6040599
E-mail: mzeljko@eihp.hr
www.eihp.hr

## Slide 2: Topics of Discussion for this Presentation
How configuration and simulation files are handled in WASP-IV
How to use the REMERSIM Module

## Slide 3: The WASP-IV User’s Manual (page 14) Provides a Flow Chart of Program Flow and File Handling
CONGEN
EXPANALT
MERSIM
SIMGRAPH
REPROEMI
REMERSIM
INPUT
DATA
DYNPRO
EXPANREP
OSDYNDAT
REPROBAT
SIMULNEW
REPORT ON
FINAL SOLUTION
SIMULOLD
(*)
(*)
(*)
(*)
(**)
(**)
(***)
(****)
(*)
ONLY FOR RESIMULATION OF BEST SOLUTION
(**)
OMMIT FOR RESIMULATION OF BEST SOLUTION
(***)
ITERATION PATTERN IF BEST SOLUTION IS STILL CONSTRAINED
(****)
FOR CHECK OF CONFIGURATIONS ALREADY SIMULATED
INPUT
DATA
INPUT
DATA
INPUT
DATA
(*)

## Slide 4: This Simplified Flow Chart Focuses on the Handling of Configuration and Simulation Files
CONGEN
EXPANALT
MERSIM
DYNPRO
EXPANREP
REPROBAT
SIMULNEW
REPORT ON
FINAL SOLUTION
SIMULOLD
INPUT
DATA
REMERSIM
SIMULNEW

## Slide 5: The Program Flow and File Handling Depends on which Phase of Analysis the Case Study is in
CONGEN
EXPANALT
MERSIM
DYNPRO
EXPANREP
REPROBAT
SIMULNEW
REPORT ON
FINAL SOLUTION
SIMULOLD
INPUT
DATA
REMERSIM
SIMULNEW
Phase 1 = Looking for Optimal Solution
Phase 2 = Reporting on Optimal Solution

## Slide 6: Phase 1 – Looking for the Optimal Solution
CONGEN
EXPANALT
MERSIM
DYNPRO
SIMULNEW
SIMULOLD
INPUT
DATA
Phase 1 = Looking for Optimal Solution

## Slide 7: When Beginning a New Case – All Old Simulations Should be Cleared
CONGEN
EXPANALT
MERSIM
DYNPRO
SIMULNEW
SIMULOLD
INPUT
DATA
Stage 1 = Looking for Optimal Solution
0
0
0

## Slide 8: Executing a Fixed Expansion CONGEN Run for a 30-Year Study Outputs 30 Configurations into EXPANALT
CONGEN
EXPANALT
MERSIM
DYNPRO
SIMULNEW
SIMULOLD
INPUT
DATA
0
0
0
30
Stage 1 = Looking for Optimal Solution

## Slide 9: Executing MERSIM Simulates System Operation for the 30 New Configurations and Outputs Simulated Results for 30 Configurations into SIMULNEW
CONGEN
EXPANALT
MERSIM
DYNPRO
SIMULNEW
SIMULOLD
INPUT
DATA
30
0
0
30
Stage 1 = Looking for Optimal Solution

## Slide 10: Executing a Variable Expansion CONGEN Run Can Produce up to 5000 Configurations
CONGEN
EXPANALT
MERSIM
DYNPRO
SIMULNEW
SIMULOLD
INPUT
DATA
1570
0
1570
1570
Stage 1 = Looking for Optimal Solution
When executing several iterations of variable expansion runs to obtain an optimal solution, WASP saves simulation results to cut down on computer runtime.
This is done by merging results for new configurations into the SIMULOLD file.

## Slide 11: DYNPRO Results Provide Guidance for Modifying CONGEN Input Data Until an Optimal Solution is Found
CONGEN
EXPANALT
MERSIM
DYNPRO
SIMULNEW
SIMULOLD
INPUT
DATA
1440
24150
1440
Stage 1 = Looking for Optimal Solution
The plus & minus signs in the previous best solution indicate how to modify the minimum no. of sets and tunnel widths.
On each future iteration, MERSIM only needs to simulate “new” configurations from CONGEN.
24300

## Slide 12: Phase 2 – Generating a Detailed Report of the Optimal Solution
CONGEN
EXPANALT
MERSIM
DYNPRO
EXPANREP
REPROBAT
SIMULNEW
REPORT ON
FINAL SOLUTION
SIMULOLD
INPUT
DATA
REMERSIM
SIMULNEW
Phase 1 = Looking for Optimal Solution
Phase 2 = Reporting on Optimal Solution

## Slide 13: DYNPRO Produces a File Called EXPANREP Containing One Configuration Per Year for the Optimal Solution
DYNPRO
EXPANREP
REPROBAT
REPORT ON
FINAL SOLUTION
REMERSIM
SIMULNEW
Phase 2 = Reporting on the Optimal Solution
30

## Slide 14: REMERSIM is Executed to Produce Detailed Simulation Results for Reviewing and as input to REPORBAT
DYNPRO
EXPANREP
REPROBAT
REPORT ON
FINAL SOLUTION
REMERSIM
SIMULNEW
30
30
Phase 2 = Reporting on the Optimal Solution

## Slide 15: REMERSIM Module of WASP-IV
The execution of REMERSIM is the same as MERSIM, except that different input files are used and more detailed output is produced.

## Slide 17: Fuel consumption and fuel stock
Fuel consumption (Ton/GWh)
Heat rate (kcal/kWh)/Calorific value (kcal/kg)
= kg/kWh =Ton/MWh = 1000 Ton/GWh
Fuel stock at the beginning of the year (Tons)
- Consumption of fuel in that year (Tons)
= Fuel stock at the end of the year (Tons)

## Slide 18: REMERSIM Input Data
KEY INPUTS:
In each year, the level of output specified must be either Intermediate or Maximum if the REMERSIM run is to be followed by a REPROBAT run.
The rate of fuel consumption and level of fuel stocks can be specified for each thermal plant type.

## Slide 19: REMERSIM Output
KEY OUTPUTS:
Input data for each year
Operational results of the simulation (including pumped-storage operation if exists) for each period, hydro condition and year of the study
Detailed results of group limitations, including loading order and operational details for the initial stage and the final stage after the group limitations are applied.