## Slide 1: Use of Group Limitations for Energy-Limited Units and Environmental Constraints in WASP-IV
Mladen Zeljko, Ph.D.
Head of Energy Generation and Conversion Department
Energy Institute “Hrvoje Požar”
Tel: +385 1 6326186 Fax: +385 1 6040599
E-mail: mzeljko@eihp.hr
www.eihp.hr

## Slide 2: Need for Group-Limitations
In some cases some power plants have to operate with several constrains limiting their generation.
The probabilistic simulation method used by WASP for production costing has been combined with a linear programming model to simulate the operation system under such constraints, which are named as multiple group limitation.
The group limitation means that for group of units, the weighted sum of the unit generations is limited.

## Slide 3: Multiple group-limitations
A unit can take part in more than one group limitations.
Example : a coal-fired unit can take part in coal consumption limitation and in an emission limitation.

## Slide 4: Emissions
TWO TYPES OF ENVIRONMENTAL POLLUTANTS CONSIDERED,
Default Pollutants are SO2 and NOx, which can be changed
by the user
EMISSION FACTORS FOR EACH PLANT TO BE SUPPLIED
WHOLE SYSTEM OR SOME PLANTS CAN BE INCLUDED IN TWO TYPES OF POLLUTANT EMISSIONS
CORRESPONDING TO ENERGY GENERATION BY EACH PLANT THE EMISSIONS ARE CALCULATED

## Slide 5: Number and types of group limitation
Maximum number of group limitation could be 5.
Type 1 : limit of fuel quantity (kT).
Type 2 : limit of emission of first pollutant (kT).
Type 3 : limit of emission of second pollutant (kT).
Type 4 : limit of heat quantity (Tcal).
Type 5 : limit of generation (GWh).

## Slide 6: Useful to know
ANNUAL AND PERIOD LIMITS ARE SUPPLIED BY THE USER
THE BASE YEAR VALUES FOR LIMITS CAN BE ALTERED IN SUBSEQUENT YEARS
ANY OF THE 5 TYPES OF CONSTRAINT CAN BE INCLUDED MORE THAN ONCE (max. number of constraints should remain five)

## Slide 7: An Example
  Limits
  Unit # 2 = 469.286 GWh
  Unit # 3 = 469.286 GWh
  Unit # 4 = 469.286 GWh
1.0
0
300
400
500
600
Unit 1
Unit 2
Unit 3
Unit 4
  Expected Energy Generation
  Unit # 1 = 2628 GWh
  Unit # 2 = 730 GWh
  Unit # 3 = 438 GWh
  Unit # 4 = 146 GWh

## Slide 8: An Example
One may switch the positions of units # 2 and # 4 to create a new loading order and assume that the system operates for 50% of the time in original loading order and 50% of the time in new loading order. The expected generation in such a case will be:
Unit # 1 = 0.5 * 2628 + 0.5 * 2628 = 2628 GWh
Unit # 2 = 0.5 * 730 +0.5 * 146 = 438 GWh
Unit # 3 = 0.5 * 438 + 0.5 * 438 = 438 GWh
Unit # 4 = 0.5 * 146 +0.5 * 730 = 438 GWh
All limits are satisfied

## Slide 9: An Example
Generation cost:
Unit # 1 = 6.6
Unit # 2 = 25
Unit # 3 = 30
Unit # 4 = 35
Optimum Solution:
W1* = 0.5
W2* = 0.3928
W5* = 0.1071
W3* = W4* = W6* = 0

## Slide 10: Group Limitations in WASP-IV
Gi = expected energy generation (MWh) from Unit i
ci = cost of generating 1 MWh of energy
M = number of group-limitations
For Group j, let Ij denote the index set of the units
LIMITj, j =1, ..., M, the value of limit
COEFij = contribution to LIMITj from Unit i
for j = 1, ..., M (1)
The cost of these generations is:
Let Rkj denote the quantity consumed from the resource relating to Group J by using strategy Sk in the whole period. Then
for k=1,..,K and j=1,...,M

## Slide 11: Group Limitations in WASP-IV
For every strategy (loading order) Sk, a weight wk representing the ratio of the duration of using Sk to the whole period has to be determined. Of course, they should be determined in such a way that the total generation cost be minimal subject to the group-limitations. This can be done by solving the linear programming problem:
minimize (2)
subject to , j=1, ..., M (3)
, (4)
, k=1, ..., K (5)

## Slide 12: Group Limitations in WASP-IV
Using the optimal solution of (2)-(5), the average loss-of-load probability (LOLP) and energy not served (ENS) values relating to the whole period can be obtained simply by:
(6)
and
(7)
where ENSk and LOLPk are the corresponding values of the strategies relating also to the whole period. Similarly, the expected generations of the units are obtained as
for i=1, ..., N (8)

## Slide 13: Group Limitations in WASP-IV
Two approaches can be proposed to avoid this phenomenon. Both approaches use nonnegative penalty factors  and ß for LOLP and ENS, respectively. For example, ß can be the real cost of the unserved energy. The first approach adds a penalty term:
(9)
to (2), i.e. the linear program
minimize (10)
subject to , j=1,...,M, (11)
(12)
, k=1,...,K (13)

## Slide 14: Group Limitations in WASP-IV
The second approach consists of two steps. In the first step, the minimal penalized average values of LOLP and ENS are searched for, i.e. the linear program is solved:
minimize (14)
subject to , j=1, ..., M (15)
, (16)
, k=1,...,K (17)
Let µ denote the optimal value of (14) - (17).

## Slide 15: Group Limitations in WASP-IV
In the second step, the following linear program is to be solved:
minimize (18)
subject to , j=1, ..., M (19)
(20)
(21)
, k=1, ..., K (22)

## Slide 16: Group Limitations in WASP-IV
Problem (18)-(22) is obtained by adding (21) to (2)-(5). Constraint (21) ensures the choice among the feasible solutions with the minimal weighted sum of the penalized LOLP and ENS. Of course, the optimal solutions of (2)-(5) and (18)-(22) are again the same if we have no strategy with derated or omitted unit.

## Slide 17: Group Limitations in WASP-IV

## Slide 18: Group Limitations in WASP-IV

## Slide 19: Conclusion
Method may seem to be not very sophisticated and not real because of moving whole set of the units of an exceeded group limitation to the end of the loading order.
Estimation : benefit of introduction more complex method couldn’t be so significant compearing with extension of computational time.
The method works in the same way for the two block representation of units. The relative order among moved blocks is kept.